{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Collimation"],"not_rendered":{"charts":0,"images":4,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Collimation","index":0,"n_rows":25,"n_cols":8,"rows_kept":25,"cut":false,"hidden":false,"merged":[]}
["Level Collimation"]
[null,"Multiplier, k:",100]
[null,"Units","ft"]
[]
["Instrument at Point 1"]
[null,"Sight Point A",null,null,null,"Sight Point B"]
[null,"Readings",null,null,null,"Readings"]
["T",6.15,null,null,"T",5.94]
["M",5.78,"interval",{"$f":"IF(B11<>\"\",B8-B10,\"\")","v":0.75},"M",5.18,"interval",{"$f":"IF(F11<>\"\",F8-F10,\"\")","v":1.5100000000000007}]
["B",5.4,"dist1A",{"$f":"IF(D9<>\"\",D9*$C$2,\"\")","v":75},"B",4.43,"dist1B",{"$f":"IF(H9<>\"\",H9*$C$2,\"\")","v":151.00000000000006}]
["Ave",{"$f":"IF(B10<>\"\",AVERAGE(B8:B10),\"\")","v":5.7766666666666664},"BS1",null,"Ave",{"$f":"IF(F10<>\"\",AVERAGE(F8:F10),\"\")","v":5.1833333333333336},"FS1"]
[]
["Instrument at Point 2"]
[null,"Sight Point A",null,null,null,"Sight Point B"]
[null,"Readings",null,null,null,"Readings"]
["T",6.3,null,null,"T",5.32]
["M",5.54,"interval",{"$f":"IF(B19<>\"\",B16-B18,\"\")","v":1.5199999999999996},"M",4.95,"interval",{"$f":"IF(F19<>\"\",F16-F18,\"\")","v":0.74000000000000021}]
["B",4.78,"dist2A",{"$f":"IF(D17<>\"\",D17*$C$2,\"\")","v":151.99999999999994},"B",4.58,"dist2B",{"$f":"IF(H17<>\"\",H17*$C$2,\"\")","v":74.000000000000028}]
["Ave",{"$f":"IF(B18<>\"\",AVERAGE(B16:B18),\"\")","v":5.54},"BS2",null,"Ave",{"$f":"IF(F18<>\"\",AVERAGE(F16:F18),\"\")","v":4.95},"FS2"]
[]
["Collimation results"]
[null,"Ave dist",{"$f":"(D10+H10+D18+H18)/6","v":75.333333333333329},{"$f":"C3","v":"ft"}]
[null,"Error",{"$f":"((B19-F19)-(B11-F11))/2","v":-1.6666666666664831E-3},{"$f":"C3","v":"ft"}]
[null,"Ratio",{"$f":"C23/C22","v":-2.2123893805307299E-5},{"$f":"C3&\"/\"&C3","v":"ft/ft"}]
[null,"Angle",{"$f":"DEGREES(ATAN(C23/C22))*3600","v":-4.5633806684385041},"seconds"]